Power and Air Pressure Requirements

Laser personalization systems. Response to Section VII clause 3.2.6.1.3

# 1. Purpose

This document sets out the electrical power and air pressure requirements of the personalization unit, as Section VII clause 3.2.6.1.3 requires. It covers the two laser personalization systems supplied, which are identical. The power figures are those of the manufacturer's datasheet, attached to the proposal as the laser personalization system datasheet.

# 2. Electrical power requirements

| Item | Requirement |
| --- | --- |
| Supply voltage | 100 to 240 VAC |
| Supply frequency | 50/60 Hz |
| Power supply rating | 2,500 W per machine |
| Machines supplied | 2 |
| Total for both machines | 5,000 W |

Each machine is supplied from a dedicated circuit of the facility's electrical installation, described in System Architecture Section 9.5. The facility supply of 220 V plus or minus 20 V at 50 Hz plus or minus 2 Hz, given for the equipment in System Architecture Section 9.4, is within the machine's input range.

# 3. Air pressure requirements

| Item | Requirement |
| --- | --- |
| Compressed air | Not required |
| Air pressure | Not applicable |
| Flow rate | Not applicable |
| Compressor specification | Not applicable |

The personalization systems are offered for laser personalization without drop-on-demand inkjet printing. In that configuration they use no compressed air, as the manufacturer confirms, so no air pressure, flow rate or compressor applies, and no air compressor is supplied or installed.